2/20/2017

Braeden Brettin and Pierre Balinda

Fuzzy Logic

Project 2 Report

Table of Contents

Table of Figures										          3

Table of Equations

Introduction to Fuzzy Logic

Brainstorming

Developing the Rule Class

Developing the Fuzzy Class

Apendix

References

Table of Figures

Figure 1. Example Membership Functions

Figure 2. Brainstorming

Figure 3. Initial Rule Class

Figure 4. First Passed Test

Figure 5. Modified Rule Class

Figure 6. Second Passed Test

Figure 7. Glucose Level Membership Function

Figure 8. Rate of Change Membership Function

Figure 9. Activity Level Membership Function

Figure 10. Initial Fuzzy Class

Figure 11. Initial Fuzzy Class

Figure 12. Initial Fuzzy Class

Figure 13. Third Passed Test

Figure 14. Modified Fuzzy Class

Figure 15. Modified Fuzzy Class

Figure 16. Modified Fuzzy Class

Figure 17. Fourth Passed Test

Figure 18. Fourth Passed Test

Figure 19. Fourth Passed Test

Figure 20. Fourth Passed Test

Figure 21: Output membership function

Figure 22: TestCalcInterval unit test

Figure 23: calcIntervals method

Figure 24: testInterpret() unit test

Figure 25: Interpret method

Figure 26: Successful unit tests

Table of Equations

Equation 1. Low Glucose Membership Equation

Equation 2. Ideal Glucose Membership Equation

Equation 3. High Glucose Membership Equation

Equation 4. Decreasing Glucose Membership Equation

Equation 5. Constant Glucose Membership Equation

Equation 6. Increasing Glucose Membership Equation

Equation 7: Computation of intervals using RSS

Equation 8: Crisp value equation

Introduction to Fuzzy Logic

Fuzzy logic systems, along with genetic algorithms and neural networks, are an important facet of advanced computational techniques. Sometimes, it is difficult to know the exact parameters and data points of a system. In these cases, programmers use what is known as “fuzzy” logic to simulate the system. For example, rather than knowing that an air conditioning system should turn on the heat when the temperature drops below 70 degrees Fahrenheit, we tell the system to turn on the heat when the temperature is “low.” These “fuzzy rules,” as they are called, define the behavior of the system. This approach to simulating behavior “mimics how a person would make decisions, only much faster” (Kaehler).

Fuzzy logic follows three basic steps: creating the rules, determining membership, and defuzzification. The team’s project will walk through these three steps in greater detail; however, a description of each step is as follows:

- Creating the rules: First, the parameters of the system are defined. In the case of an air conditioning system, these would be the change in temperature and the rate of change in temperature. Fuzzy rules are then created for every combination of parameters in the form of an antecedent block (If x and y) followed by a consequent block (Then z). For example, one rule for the previously-mentioned air conditioning system would be, “If the temperature has decreased and the temperature is still decreasing, then turn on the heat.” Large systems, such as the one the team will create in this project, could require a plethora of rules.

- Determining membership: The next step is to construct membership functions for each of the parameters in the system. Example membership functions for the air conditioning system are as shown below in Figure 1(Kaehler).

Figure 1. Example Membership Functions

Given that these membership functions provide a range of possible values for each parameter, it is now possible to match up the given values into the system with a value on this function. For example, an error in degrees of -1 degrees Fahrenheit would give a membership of 0.50 for Negative and 0.50 for Zero. The same process is applied for every membership function to give a membership for every possible linguistic variable.

- Defuzzification: Using the calculated membership values, the rules are followed using logical AND procedures. For example, in the rule, “If the temperature has decreased and the temperature is still decreasing, then turn on the heat,” if the membership of decreased temperature is 0.5, and the membership of decreasing temperature is 0.25, turn on heat would result in 0.25. This procedure is followed for every rule. The rules are then grouped by output and one of several defuzzification methods can be used to determine a crisp numerical output. The team’s chosen defuzzification method will be addressed in greater detail later in the report.

Upon following these three steps, the program should produce one crisp output for each set of input values to the system. In much the same way that human behavior works, this crisp output will determine the actions needed to put the system at an ideal state. In this way, fuzzy logic can be applied to many control systems from HVAC to fuel injection.

Brainstorming

To begin, the team spent an afternoon researching and brainstorming possible ideas for a fuzzy logic system. The team eventually decided on modeling a glucose monitoring system for diabetic patients. Given the prevalence of diabetes in the general population and the serious ramifications of not properly modulating glucose levels, the team believes this system has significant real-world applications.

Given the inexperience of the team members with glucose levels and rates, the team spent time researching ideal levels of glucose and rate of change of glucose in diabetes patients. These data points will allow us to estimate which levels and rates are too low, ideal, or too high and will serve as the range of acceptable results for the various parameters. According to Spero, an ideal glucose level for those with diabetes is about 100 mg/dL (2016). A low glucose level is about 50 mg/dL, and a high glucose level is about 150 mg/dL. According to the scholarly article written by Dunn, Eastman, and Tamada, glucose typically decreases at a rate of about -1 mg/dL/min, whereas glucose typically increases at a rate of about +1 mg/dL/min (2004).

To modulate the glucose level in the team’s fictional patients, three parameters were analyzed: the current glucose level, the rate of change in glucose level, and the activity level. These three parameters are the three factors that play the largest role in regulating the glucose level of a diabetic patient. The team set three linguistic variables for the current glucose level: low, ideal, and high, three variables for the rate of change in glucose level: decreasing, constant, and increasing, and four variables for activity level: resting, minimal, intermediate, and rigorous. The team then created one-parameter fuzzy rules for each of these parameters, as shown in Figure 2, below.

Figure 2. Brainstorming

Between this initial brainstorming session and the final project, only the number of activity levels was changed. Rather than using four activity levels, the team decided to use two activity levels, thus eliminating the need for qualifiers in the output (i.e. “add a lot of sugar”). After this brainstorming session, the team still needed to accomplish three critical tasks: finishing writing the multi-parameter rules, creating the membership functions, and determining the defuzzification method. The team split up these tasks accordingly and proceeded to code the program.

Developing the Rule Class

All fuzzy logic systems are run by a set of fuzzy rules, and the team’s system is no different. These rules take into account all the parameters into the system and find outcomes for all possible combinations. In the case of the team’s system, since three parameters will be used to define the system, the team created all the possible 1-parameter, 2-parameter, and 3-parameter rule combinations. The complete list of rules is shown below:

- If glucose is low, then add sugar.

- If glucose is ideal, then do nothing.

- If glucose is high, then add insulin.

- If glucose is decreasing, then add sugar.

- If glucose is constant, then do nothing.

- If glucose is increasing, then add insulin.

- If activity is resting, then do nothing.

- If activity is present, then add sugar.

- If glucose is low and decreasing and activity is resting, then add sugar.

- If glucose is low and decreasing and activity is present, then add sugar.

- If glucose is low and constant and activity is resting, then add sugar.

- If glucose is low and constant and activity is present, then add sugar.

- If glucose is low and increasing and activity is resting, then do nothing.

- If glucose is low and increasing and activity is present, then add sugar.

- If glucose is ideal and decreasing and activity is resting, then add sugar.

- If glucose is ideal and decreasing and activity is present, then add sugar.

- If glucose is ideal and constant and activity is resting, then do nothing.

- If glucose is ideal and constant and activity is present, then add sugar.

- If glucose is ideal and increasing and activity is resting, then add insulin.

- If glucose is ideal and increasing and activity is present, then do nothing.

- If glucose is high and decreasing and activity is resting, then do nothing.

- If glucose is high and decreasing and activity is present, then add sugar.

- If glucose is high and constant and activity is resting, then add insulin.

- If glucose is high and constant and activity is present, then do nothing.

- If glucose is high and increasing and activity is resting, then add insulin.

- If glucose is high and increasing and activity is present, then add insulin.

- If glucose is low and decreasing, then add sugar.

- If glucose is low and constant, then add sugar.

- If glucose is low and increasing, then do nothing.

- If glucose is ideal and decreasing, then add sugar.

- If glucose is ideal and constant, then do nothing.

- If glucose is ideal and increasing, then add insulin.

- If glucose is high and decreasing, then do nothing.

- If glucose is high and constant, then add insulin.

- If glucose is high and increasing, then add insulin.

- If glucose is low and activity is resting, then add sugar.

- If glucose is low and activity is present, then add sugar.

- If glucose is ideal and activity is resting, then do nothing.

- If glucose is ideal and activity is present, then add sugar.

- If glucose is high and activity is resting, then add insulin.

- If glucose is high and activity is present, then do nothing.

- If glucose is decreasing and activity is resting, then add sugar.

- If glucose is decreasing and activity is present, then add sugar.

- If glucose is constant and activity is resting, then do nothing.

- If glucose is constant and activity is present, then add sugar.

- If glucose is increasing and activity is resting, then add insulin.

- If glucose is increasing and activity is present, then do nothing.

With all of the rules formulated, it was now up to the team to simulate these rules in a program. To achieve this, the team created a Rule class in Java that would model one of these rules. The constructor for this class takes in four parameters, the glucose level, the rate of change in glucose, the activity level, and the output. For example, constructing a new Rule using Rule(“low”, “constant”, “resting”, “sugar”) would model Rule 11, above. Since Rules would later be sorted by output, getter methods for the output and result were added. The progress of the Rule class is shown in Figure 3, below.

Figure 3. Initial Rule Class

In order to ensure this Rule class worked as intended, a series of tests were run for each method, producing the successful output shown in Figure 4, below.

Figure 4. First Passed Test

Later in the program, it will be imperative to use memberships to return a result for each result. For example, if the input values to the system have a “low” membership of 0.1, a “constant” membership of 0.65, and a “resting” membership of 1.0, the previously mentioned rule would return a result of 0.1 using the logical AND operation. The team now wanted to create a method to calculate this result, as shown in Figure 5, below.

Figure 5. Modified Rule Class

Another series of tests was run for the calcResult and findMin methods, producing the successful result shown in Figure 6, below.

Figure 6. Second Passed Test

Developing the Fuzzy Class

With the Rule class fully constructed and working properly, it was now time to begin work on the Fuzzy class, which will contain the main method and carry out the steps of the fuzzy logic system. The first step in creating the Fuzzy class was to create an arrayList to hold all the rules for the team’s fuzzy logic system. Unfortunately, there is no quick way to create all the necessary rules, so the team had to create 47 Rule objects, one for each possible rule in the system. With this work completed, the team next needed to follow the second step in any fuzzy logic system, determining membership. Any run of the program should prompt the user for three separate values, the current glucose level of the patient, the rate of change in glucose level, and the activity level. Using these values, the program should calculate the respective membership for these values in every possible parameter.

These memberships are determined by creating what is known as “membership functions.” A membership function is “a graphical representation of the magnitude of participation of each input. It associates a weighting with each of the inputs that are processed, define functional overlap between inputs, and ultimately determines an output response” (Kaehler). These membership functions have several common characteristics: they are usually triangular shaped, they have centers and overlapping areas, and they use shouldering (the height is locked at maximum if an outer function (Kaehler)).

The team created three different membership functions, one for each parameter of the system. The membership function sketch for the current glucose level of the patient is as shown in Figure 7, below.

Figure 7. Glucose Level Membership Function

The membership function sketch for the rate of change in glucose is as shown in Figure 8, below.

Figure 8. Rate of Change Membership Function

The membership function sketch for the activity level of the patient is as shown in Figure 9, below.

Figure 9. Activity Level Membership Function

Using these functions, the team was able to create a defined equation for each qualified parameter that can be used to numerically determine the membership of any input value in the program. The equation for low glucose membership is as shown in Equation 1, below.

if level<50, low=1; else low=100-2level-50100

Equation 1. Low Glucose Membership Equation

The equation for ideal glucose membership is as shown in Equation 2, below.

ideal=100-2100-level100

Equation 2. Ideal Glucose Membership Equation

The equation for high glucose membership is as shown in Equation 3, below.

if level>150, high=1; else high=100-2150-level100

Equation 3. High Glucose Membership Equation

The equation for decreasing glucose membership is as shown in Equation 4, below.

if rate<-1, decreasing=1; else decreasing=rate

Equation 4. Decreasing Glucose Membership Equation

The equation for constant glucose membership is as shown in Equation 5, below.

constant=1-rate

Equation 5. Constant Glucose Membership Equation

The equation for increasing glucose membership is as shown in Equation 6, below.

if rate>1, increasing=1; else increasing=rate

Equation 6. Increasing Glucose Membership Equation

For each of these equations, if the membership is less than 0, the membership becomes 0, because it is impossible to obtain a negative membership value.

The equation for activity level is far easier to define. The activity level is treated as a binary value. If the patient has resting activity, the resting membership is 1, and the present membership is 0. If the patient has activity present, the resting membership is 0, and the present membership is 1.

Before coding the formulas to determine membership, the team created methods for populating the ruleset and asking for user input, as shown in Figures 10 through 12, below.

Figure 10. Initial Fuzzy Class

Figure 11. Initial Fuzzy Class

Figure 12. Initial Fuzzy Class

The team then ran tests for each of these methods, producing the successful output shown in Figure 13, below.

Figure 13. Third Passed Test

The next step in the process of developing the Fuzzy class was to write the calcMembership methods. These methods take in parameters such as the current glucose level, the rate of change in glucose, and the activity level, and return the membership for each of the eight qualified parameters using the aforementioned equations. After creating these eight methods, the code in the Fuzzy class was as shown in Figures 14 through 16, below.

Figure 14. Modified Fuzzy Class

Figure 15. Modified Fuzzy Class

Figure 16. Modified Fuzzy Class

Given the complexity of these equations, it was important for testing to examine all possible scenarios for the parameters. As such, the team’s tests checked for conditions in every possible. These tests produced the successful output shown in Figures 17 through 20, below.

Figure 17. Fourth Passed Test

Figure 18. Fourth Passed Test

Figure 19. Fourth Passed Test

Figure 20. Fourth Passed Test

After coding and testing all levels of membership calculations, the team proceed to developing the defuzzification process of the system. The team followed the aforementioned tutorial’s example to setup this process. The first step of any defuzzification process is to create the output membership set and functions and determine their interval. The output membership set was “Add sugar”, “Do nothing”, and “Add insulin”, equation 7 –the root-sum-square(RSS)— was used to calculate their membership function intervals for each patient. “Add sugar” will cover output values between -100 and 0, “Nothing” will cover 0, and “Add insulin” will cover 0 to 100.

Sugar=√k=0nn2 where n is the membership degree of a rule, whose action is sugar

Nothing=√(k=0nn2) where n is the membership degree of a rule, whose action is nothing

Insulin=√(k=0nn2) where n is the membership degree of a rule, whose action is insulin

Equation 7: Computation of intervals using RSS

The team then proceed to computing the crisps output value using the fuzzy centroid algorithm, as shown in equation 8.

Figure 21: Output membership function

Output=sugar*-100+nothing*0+insulin*100sugar+nothing+insulin

Equation 8: Crisp value equation

After the developing these two equations, the team proceed to creating unit tests and methods that carry out the computations, as seen in Figure 22 and 23.

Figure 22: TestCalcInterval unit test

Figure 23: calcIntervals method

The method to interpret the output data was tested and written as seen below in Figure 23 and 24. The interpretation was based off the output membership function figure. The test was successful as shown in Figure 25.

Figure 24: testInterpret() unit test

Figure 25: Interpret method

Figure 26: Successful unit tests

References

Dunn, T. C., Eastman, R. C., & Tamada, J. A. (Sep. 2004). Rates of Glucose Change Measured by Blood Glucose Meter and the GlucoWatch Biographer During Day, Night, and Around Mealtimes. Diabetes Care, 27(9), 2161-2165. Retrieved from http://care.diabetesjournals.org/content/27/9/2161

Engelbrecht, A. P. (n.d.). Computational Intelligence: An Introduction (2nd ed.).

Kaehler, S. D. (n.d.). Fuzzy Logic Tutorial. Retrieved from http://www.seattlerobotics.org/encoder/mar98/fuz/flindex.html

Spero, D. (Jan. 13, 2016). What is a Normal Blood Sugar Level? Retrieved from https://www.diabetesselfmanagement.com/blog/what-is-a-normal-blood-sugar-level/

(n.d.). Fuzzy Logic. Retrieved from http://www.rpi.edu/dept/ecse/mps/Fuzzy_Logic.pdf

Appendix

- GitHub repository

- Fuzzy.java

import java.util.ArrayList;

import java.util.Scanner;

public class Fuzzy

{

static ArrayList<Rule> rules =new ArrayList<Rule>();

static double glucose, rate;

static String activity;

static double low, ideal, high, decreasing, constant, increasing, resting, present, output, insulin=0, sugar=0, nothing=0;

public static void main(String[] args)

{

//rules = new ArrayList<Rule>();

// Populate rules with all 47 rule combinations.

populateRules();

// Ask for user input for current glucose level, rate of change, and activity.

userInput();

// Calculate the memberships for the various qualified parameters.

calcLow();

calcIdeal();

calcHigh();

calcDecreasing();

calcConstant();

calcIncreasing();

calcResting();

calcPresent();

calcIntervals();

System.out.println("\nOutput= " + output);

System.out.println("Recommended action: " + interpret());

}

// Populate rules with all 47 rule combinations.

public static void populateRules()

{

rules.add(new Rule("low", null, null, "sugar"));

rules.add(new Rule("ideal", null, null, "nothing"));

rules.add(new Rule("high", null, null, "insulin"));

rules.add(new Rule(null, "decreasing", null, "sugar"));

rules.add(new Rule(null, "constant", null, "nothing"));

rules.add(new Rule(null, "increasing", null, "insulin"));

rules.add(new Rule(null, null, "resting", "nothing"));

rules.add(new Rule(null, null, "present", "sugar"));

rules.add(new Rule("low", "decreasing", "resting", "sugar"));

rules.add(new Rule("low", "decreasing", "present", "sugar"));

rules.add(new Rule("low", "constant", "resting", "sugar"));

rules.add(new Rule("low", "constant", "present", "sugar"));

rules.add(new Rule("low", "increasing", "resting", "nothing"));

rules.add(new Rule("low", "increasing", "present", "sugar"));

rules.add(new Rule("ideal", "decreasing", "resting", "sugar"));

rules.add(new Rule("ideal", "decreasing", "present", "sugar"));

rules.add(new Rule("ideal", "constant", "resting", "nothing"));

rules.add(new Rule("ideal", "constant", "present", "sugar"));

rules.add(new Rule("ideal", "increasing", "resting", "insulin"));

rules.add(new Rule("ideal", "increasing", "present", "nothing"));

rules.add(new Rule("high", "decreasing", "resting", "nothing"));

rules.add(new Rule("high", "decreasing", "present", "sugar"));

rules.add(new Rule("high", "constant", "resting", "insulin"));

rules.add(new Rule("high", "constant", "present", "nothing"));

rules.add(new Rule("high", "increasing", "resting", "insulin"));

rules.add(new Rule("high", "increasing", "present", "insulin"));

rules.add(new Rule("low", "decreasing", null, "sugar"));

rules.add(new Rule("low", "constant", null, "sugar"));

rules.add(new Rule("low", "increasing", null, "nothing"));

rules.add(new Rule("ideal", "decreasing", null, "sugar"));

rules.add(new Rule("ideal", "constant", null, "nothing"));

rules.add(new Rule("ideal", "increasing", null, "insulin"));

rules.add(new Rule("high", "decreasing", null, "nothing"));

rules.add(new Rule("high", "constant", null, "insulin"));

rules.add(new Rule("high", "increasing", null, "insulin"));

rules.add(new Rule("low", null, "resting", "sugar"));

rules.add(new Rule("low", null, "present", "sugar"));

rules.add(new Rule("ideal", null, "resting", "nothing"));

rules.add(new Rule("ideal", null, "present", "sugar"));

rules.add(new Rule("high", null, "resting", "insulin"));

rules.add(new Rule("high", null, "present", "nothing"));

rules.add(new Rule(null, "decreasing", "resting", "sugar"));

rules.add(new Rule(null, "decreasing", "present", "sugar"));

rules.add(new Rule(null, "constant", "resting", "nothing"));

rules.add(new Rule(null, "constant", "present", "sugar"));

rules.add(new Rule(null, "increasing", "resting", "insulin"));

rules.add(new Rule(null, "increasing", "present", "nothing"));

}

// Ask for user input for current glucose level, rate of change, and activity.

public static void userInput()

{

Scanner in = new Scanner(System.in);

System.out.print("Input current glucose level (mg/dL): ");

glucose = in.nextDouble();

System.out.print("Input rate of change of glucose (mg/dL/min): ");

rate = in.nextDouble();

System.out.print("Is activity present (y or n)? ");

String response = in.next();

if(response==("y"))

activity = "present";

else if(response==("n"))

activity = "resting";

}

// Calculate the low membership.

public static void calcLow()

{

if(glucose < 50.0)

low = 1.0;

else

low = (100 - 2*Math.abs(glucose-50))/100;

if(low < 0.0)

low = 0.0;

}

// Calculate the ideal membership.

public static void calcIdeal()

{

ideal = (100 - 2*Math.abs(glucose-100))/100;

if(ideal < 0.0)

ideal = 0.0;

}

// Calculate the high membership.

public static void calcHigh()

{

if(glucose > 150.0)

high = 1;

else

high = (100 - 2*Math.abs(150-glucose))/100;

if(high < 0)

high = 0;

}

// Calculate the decreasing membership.

public static void calcDecreasing()

{

if(rate < -1)

decreasing = 1.0;

else if(rate >= 0)

decreasing = 0;

else

decreasing = Math.abs(rate);

}

// Calculate the constant membership.

public static void calcConstant()

{

constant = 1 - Math.abs(rate);

if(constant < 0.0)

constant = 0.0;

}

// Calculate the increasing membership.

public static void calcIncreasing()

{

if(rate > 1)

increasing = 1;

else

increasing = rate;

if(increasing < 0)

increasing = 0;

}

// Calculate the resting membership.

public static void calcResting()

{

if(activity==("resting"))

resting = 1;

else

resting = 0;

}

// Calculate the present membership.

public static void calcPresent()

{

if(activity==("present"))

present = 1;

else

present = 0;

}

//calculates all memberships

public static void calcMembership()

{

calcLow();

calcIdeal();

calcHigh();

calcDecreasing();

calcConstant();

calcIncreasing();

calcResting();

calcPresent();

}

//determining the output levels of membership

public static void calcIntervals()

{

calcMembership();

for(int i=0; i< rules.size(); i++)

{

rules.get(i).calcResult( low,  ideal,  high,  decreasing,  constant,  increasing,  resting,  present);

//sugar/insulin/nothing = sum of respective squares

if( rules.get(i).getOutput() == "sugar")

sugar +=Math.pow(rules.get(i).getResult(), 2);

else if (rules.get(i).getOutput() == "insulin")

insulin += Math.pow(rules.get(i).getResult(), 2);

else

nothing += Math.pow(rules.get(i).getResult(),2);

}

sugar = Math.sqrt(sugar);

insulin = Math.sqrt(insulin);

nothing = Math.sqrt(nothing);

if(sugar + nothing + insulin != 0)	//Avoid dividing by 0

output = ((-100 * sugar) +  (0*nothing) + (100*insulin))/(sugar + nothing + insulin);

else

output = 0;

}

public static String interpret()

{

if(output > 0)

return "Add insulin";

if (output < 0)

return "Add sugar";

else

return "Do nothing";

}

}

- FuzzyTest.java

import static org.junit.Assert.*;

import java.util.ArrayList;

import org.junit.Test;

public class FuzzyTest

{

@Test

public void testPopulateRules()

{

Fuzzy.rules = new ArrayList<Rule>();

Fuzzy.populateRules();

assertTrue(Fuzzy.rules.size() == 47);

}

@Test

public void testUserInput()

{

Fuzzy.userInput();

assertTrue(Fuzzy.glucose == 75.0);

assertTrue(Fuzzy.rate == -0.5);

assertTrue(Fuzzy.activity == "present");

}

@Test

public void testCalcLow()

{

Fuzzy.glucose = 0.0;

Fuzzy.calcLow();

assertTrue(Fuzzy.low == 1.0);

Fuzzy.glucose = 50.0;

Fuzzy.calcLow();

assertTrue(Fuzzy.low == 1.0);

Fuzzy.glucose = 75.0;

Fuzzy.calcLow();

assertTrue(Fuzzy.low == 0.5);

Fuzzy.glucose = 150.0;

Fuzzy.calcLow();

assertTrue(Fuzzy.low == 0.0);

}

@Test

public void testCalcIdeal()

{

Fuzzy.glucose = 0.0;

Fuzzy.calcIdeal();

assertTrue(Fuzzy.ideal == 0.0);

Fuzzy.glucose = 100.0;

Fuzzy.calcIdeal();

assertTrue(Fuzzy.ideal == 1.0);

Fuzzy.glucose = 125.0;

Fuzzy.calcIdeal();

assertTrue(Fuzzy.ideal == 0.5);

Fuzzy.glucose = 200.0;

Fuzzy.calcIdeal();

assertTrue(Fuzzy.ideal == 0.0);

}

@Test

public void testCalcHigh()

{

Fuzzy.glucose = 50.0;

Fuzzy.calcHigh();

assertTrue(Fuzzy.high == 0.0);

Fuzzy.glucose = 125.0;

Fuzzy.calcHigh();

assertTrue(Fuzzy.high == 0.5);

Fuzzy.glucose = 150.0;

Fuzzy.calcHigh();

assertTrue(Fuzzy.high == 1.0);

Fuzzy.glucose = 250.0;

Fuzzy.calcHigh();

assertTrue(Fuzzy.high == 1.0);

}

@Test

public void testCalcDecreasing()

{

Fuzzy.rate = -2.0;

Fuzzy.calcDecreasing();

assertTrue(Fuzzy.decreasing == 1.0);

Fuzzy.rate = -1;

Fuzzy.calcDecreasing();

assertTrue(Fuzzy.decreasing == 1.0);

Fuzzy.rate = -.5;

Fuzzy.calcDecreasing();

assertTrue(Fuzzy.decreasing == 0.5);

Fuzzy.rate = 1;

Fuzzy.calcDecreasing();

assertTrue(Fuzzy.decreasing == 0.0);

}

@Test

public void testCalcConstant()

{

Fuzzy.rate = -1.5;

Fuzzy.calcConstant();

assertTrue(Fuzzy.constant == 0.0);

Fuzzy.rate = 0;

Fuzzy.calcConstant();

assertTrue(Fuzzy.constant == 1.0);

Fuzzy.rate = .5;

Fuzzy.calcConstant();

assertTrue(Fuzzy.constant == 0.5);

Fuzzy.rate = 1.5;

Fuzzy.calcConstant();

assertTrue(Fuzzy.constant == 0.0);

}

@Test

public void testCalcIncreasing()

{

Fuzzy.rate = -1;

Fuzzy.calcIncreasing();

assertTrue(Fuzzy.increasing == 0.0);

Fuzzy.rate = .5;

Fuzzy.calcIncreasing();

assertTrue(Fuzzy.increasing == .5);

Fuzzy.rate = 1;

Fuzzy.calcIncreasing();

assertTrue(Fuzzy.increasing == 1);

Fuzzy.rate = 2;

Fuzzy.calcIncreasing();

assertTrue(Fuzzy.increasing == 1);

}

@Test

public void testCalcResting()

{

Fuzzy.activity = "resting";

Fuzzy.calcResting();

assertTrue(Fuzzy.resting == 1);

Fuzzy.activity = "present";

Fuzzy.calcResting();

assertTrue(Fuzzy.resting == 0);

}

@Test

public void testCalcPresent()

{

Fuzzy.activity = "present";

Fuzzy.calcPresent();

assertTrue(Fuzzy.present == 1);

Fuzzy.activity = "resting";

Fuzzy.calcPresent();

assertTrue(Fuzzy.present == 0);

}

@Test

public void testCalcInterval()

{

Fuzzy.populateRules();

Fuzzy.userInput();

Fuzzy.calcIntervals();

assertTrue(Fuzzy.output == -100);

}

@Test

public void testInterpret()

{

Fuzzy.populateRules();

Fuzzy.userInput();

Fuzzy.calcIntervals();

assertTrue(Fuzzy.interpret() == "Add sugar");

}

}

- Rule.java

public class Rule

{

String level, change, activity, output;

double result;

Rule(String glucose, String rate, String act, String action)

{

level = glucose;

change = rate;

activity = act;

output = action;

}

// The parameters are the membership values for each level, change, and activity.

void calcResult(double low, double ideal, double high, double decreasing, double constant, double increasing, double resting, double present)

{

double a = 0.0, b = 0.0, c = 0.0;

if(level==("low"))

a = low;

else if(level==("ideal"))

a = ideal;

else if(level==("high"))

a = high;

if(change==("decreasing"))

b = decreasing;

else if(change==("constant"))

b = constant;

else if(change==("increasing"))

b = increasing;

if(activity==("resting"))

c = resting;

else if(activity==("present"))

c = present;

result = findMin(a, b, c);

}

// Find the minimum of a, b, and c.

double findMin(double a, double b, double c)

{

double min = a;

if(b < min)

min = b;

if(c < min)

min = c;

return min;

}

String getOutput()

{

return output;

}

double getResult()

{

return result;

}

}

- RuleTest.java

import static org.junit.Assert.*;

import org.junit.Test;

public class RuleTest

{

@Test

public void testRule()

{

Rule rule = new Rule("low", "constant", "resting", "sugar");

assertTrue(rule.level.equals("low"));

assertTrue(rule.change.equals("constant"));

assertTrue(rule.activity.equals("resting"));

assertTrue(rule.output.equals("sugar"));

Rule rule2 = new Rule("low", null, null, "sugar");

assertTrue(rule2.level.equals("low"));

assertTrue(rule2.change == null);

assertTrue(rule2.activity == null);

assertTrue(rule2.output.equals("sugar"));

}

@Test

public void testGetOutput()

{

Rule rule = new Rule("low", "constant", "resting", "sugar");

assertTrue(rule.getOutput().equals("sugar"));

}

@Test

public void testGetResult()

{

Rule rule = new Rule("low", "constant", "resting", "sugar");

rule.result = 0.1;

assertTrue(rule.getResult() == 0.1);

}

@Test

public void TestCalcResult()

{

Rule rule = new Rule("low", "constant", "resting", "sugar");

rule.calcResult(0.1, 0.9, 0.0, 0.35, 0.65, 0.0, 1.0, 0.0);

assertTrue(rule.getResult() == 0.1);

Rule rule2 = new Rule("low", null, null, "sugar");

rule.calcResult(0.4, 0.6, 0.0, 0.3, 0.7, 0.0, 1.0, 0.0);

assertTrue(rule.getResult() == 0.4);

}

@Test

public void TestFindMin()

{

Rule rule = new Rule("low", "constant", "resting", "sugar");

assertTrue(rule.findMin(0.3, 0.55, 0.4) == 0.3);

}

}